THE USE OF ZEOLITE IN A LAB-SCALE MEMBRANE BIO-REACTOR (MBR) FOR MEMBRANE FOULING MITIGATION
P.K. Gkotsis, E.V. Tounta, M.F. Popa and A.I Zouboulis* 

Laboratory of Chemical and Environmental Technology, Section of Chemical Technology and Industrial Chemistry, School of Chemistry, Aristotle University of Thessaloniki, 54124 Thessaloniki, Greece

E-mails: petgk@chem.auth.gr, ellitounta@yahoo.com, marpopa49@gmail.com, zoubouli@chem.auth.gr*
Abstract
Compared to the conventional activated sludge (CAS) process, the Membrane Bio-Reactor (MBR) technology offers a series of environmentally-friendly advantages, such as high quality effluent, pathogens removal capacity, avoided use of chemicals for disinfection, reduced sludge production, etc., allowing it to be regarded as a green technology for wastewater treatment. However, membrane fouling still remains the major drawback of the MBR technology, preventing its widespread application for municipal or industrial wastewater treatment. The use of additives (i.e. adsorbents, bio-film carriers or coagulants) is considered to be among the strategies implemented for membrane fouling control over the last few years. Apart from its use as an adsorbent in water and wastewater treatment due to its interesting adsorption properties, zeolite has been lately reported as a promising method for membrane fouling mitigation in MBRs as well. The present work, which is part of a research project aiming to determine an integrated methodology for fouling control in MBR systems, investigates the influence of zeolite on reversible and irreversible membrane fouling of a lab-scale MBR. High-strength synthetic municipal wastewater (with BOD around 1000 mg/L) was fed as the substrate for the activated sludge process (at F/M ratio 0.2 kg BOD/kg MLVSS∙d) and a flat-sheet microfiltration membrane was operated at the flux of 17 LMH. The obtained results showed that the addition of zeolite can mitigate the total membrane fouling, contributing mainly to the alleviation of irreversible fouling, while the reversible fouling remained practically unaffected. In addition, the lab-scale MBR system can operate successfully with a high-strength synthetic municipal wastewater, since remarkable behavior was observed in terms of both organics and especially ammonium removal (over 98 %).
Keywords: Membrane Bio-Reactors; reversible and irreversible fouling; zeolite; green technology
1. Introduction

Over the last few years, a remarkable progress has been observed, regarding the application of Membrane Bio-Reactor (MBR) technology in the field of municipal and industrial wastewater treatment. Membrane Bio-Reactors (MBRs) offer a series of environmental advantages, compared to the conventional Activated Sludge Process (ASP), which may suggest it being viewed as a green technology, as well, regarding mainly the reduced plant footprint, the higher effluent quality, better removal capacity of pathogens, avoided use of supplementary chemicals for final disinfection (before discharge) and reduced sludge production (Lofrano, 2012; Neoh et al., 2016). However, membrane fouling, which is the unwanted deposition of suspended particulates, colloids and solutes of the aeration tank mixed liquor on the membrane surface and/or inside the membrane pores, still remains the major drawback, preventing the wide application of MBR technology (Iorhemen et al., 2017). Therefore, most MBR studies aim to identify, investigate, control, model and mitigate the respective membrane fouling (Akamatsu et al., 2010).
Among the various strategies employed, the use of specific additives is increasingly applied for membrane fouling mitigation. Additives can be inserted in the aeration tank in order to modify the mixed liquor characteristics, resulting in the enhancement of filtration process and fouling reduction. Such substances can be e.g. adsorbing agents, coagulants and membrane performance enhancers (e.g. organic polymers of high molecular weight-polyelectrolytes). Coagulants and cationic polyelectrolytes introduce in the aqueous system positive charges, neutralizing the usually negative charges of biomass, thus enhancing its flocculation. Adsorbents, such as powdered activated carbon, are added in the mixed liquor in order to mitigate fouling by adsorbing colloidal and soluble substances causing the respective problems (Krzeminski et al., 2017; Gkotsis et al. 2017).
Natural zeolite (clinoptilolite) is considered as one interesting material for wastewater treatment, due to its excellent ion-exchange properties, adsorption capacity and use as a molecule sieve (Dutta et al., 2014). As a result, numerous studies focus on the examination of its remarkable removal efficiency regarding mainly COD, ammonium and residual colour in wastewater treatment (Rezaei and Mehrnia, 2014; Wu et al., 2008; Yuniarto et al., 2013). Nevertheless, zeolite has been recently used for membrane fouling control as well. Rezaei and Mehrnia (2014) found that the addition of zeolite in a lab-scale MBR system can improve sludge properties, causing the accumulation of larger particles and reducing the Trans-Membrane Pressure. Yuniarto et al. (2013) and Damayanti et al. (2011) investigated the effect of zeolite on the operational conditions of a MBR system, treating palm oil mill effluent and showed that zeolite addition increased the membrane permeability and enhanced the critical flux.
In most studies, fouling is principally examined in terms of membrane permeability increase, or TMP reduction. To the author’s best knowledge, little information has been reported regarding zeolite’s influence, specifically on reversible or irreversible fouling in MBR systems. In the present study, the effect of zeolite on membrane fouling of a lab-scale MBR treating high-strength synthetic municipal wastewater is investigated, with specific attention given to reversible and irreversible fouling mitigation. For this purpose, a series of batch-mode experiments, which included the addition of different zeolite dosages in sludge samples of a lab-scale MBR, were conducted and the effect of zeolite was examined on sludge filterability (used as a reversible fouling index) and on SMP concentration reduction (used as an irreversible fouling index).

The exponential growth of world population, the increase of resources’ use and waste production and the demand for goods of higher quality produce an urgent need for new, cleaner and safer technologies. Membrane technologies have the potential to play a significant role in preventing pollution and allowing resource recovery, chemicals’ purification and energy savings. In particular, Membrane Bio-Reactors can contribute to a greener chemistry by controlling better the mass transfer of reactants and products and by enhancing the overall yields and conversions, minimizing solvents’ use and maximizing mass utilization. Besides, the recycling of pure water from municipal or industrial wastewater remains one of the most important concerns connected with the use of alternative energy sources and clean water production (Boddhoo and Harvey, 2013). For the aforementioned reasons it is clear that the present work, which examines the effect of zeolite on membrane fouling with a view to extending the membranes’ operational time by minimizing their chemical cleaning, is directly related to green technologies and green chemistry.
2. Materials and methods
2.1 Lab-scale MBR operation
The experimental lab-scale set-up consists of four basic sub-units: (a) wastewater feed unit, (b) bioreactor, (c) membrane (side-stream) filtration, and (d) permeate collection unit (Figure 1). After the bioreactor was inoculated with activated sludge, which was received from the recirculation channel of the urban wastewater treatment plant of Thessaloniki city (located in the area of Sindos, near to Gallikos River), the system was operated continuously in order to achieve a steady-state condition in the bioreactor. The synthetic wastewater (Table 1), which was fed as the substrate for the activated sludge, was led by a peristaltic pump to the aeration tank (bioreactor), where the concentration of the dissolved oxygen (DO) was monitored by a DO-meter in the range of 2-3 mg/L. The air needed for the biomass aeration (and bio-oxidation of pollutants) and for the cleaning of applied membrane was supplied by an air compressor, the pressure of which was appropriately reduced to the desired value by means of an air pressure reducer. Gas and liquid flow rates were measured by gas and liquid flow meters, while level sensors were used in order to control the liquid level in the membrane tank. The permeate was withdrawn from the upper-end of the applied membrane by another peristaltic pump, while a high-resolution pressure transmitter was placed in the outlet of the membrane in order to record the Trans-Membrane Pressure (TMP). The permeate collection unit was the final recipient of the produced permeate. Membrane relaxation steps of 1 min were regularly performed for mechanical cleaning purposes every 9 min of filtration operation. 
A flat sheet, microfiltration membrane (Kubota Membranes Inc., Japan) with a pore size of 0.4 μm and an effective area of 0.11 m2 (made of chlorinated polyethylene) was operated at a flux of 17 LMH. Synthetic municipal wastewater (with BOD around 1000 mg/L) was fed in the activated sludge treatment system, under the following operating conditions: SRT= 10 d, F/M= 0.21 kg BOD/kg MLVSS∙d. The (typical) composition of synthetic wastewater is presented in Table 1 (OECD, 2010). Reversible fouling was assessed in terms of sludge filterability tests, according to the standard TTF method, while irreversible fouling was assessed in terms of Soluble Microbial Products (SMP) removal, after the appropriate analytical determination of SMP.
[image: image8.png]/3w ‘N-,"HN




[image: image9.png]2500

/3w ‘qQOD

r 1500
r 1000

r 500

1200

/3w “qod

16




[image: image10.png]SMcholitc/SMPno zeolite

14

12

1.0

0.8

0.6

04

02

Zeolite
concentration

mlg/L
m5o/L
=10g/L




[image: image1.jpg]iﬁ CVe
Sewerage

0 00 00000 0 o O 0 Og
00 000 9000000

S o o o o
60°% 050 0 0%, 0

0% 0 000 000 0 o00©0
060 00 60 g0 4O O

ooooooooooooooo
0 0 000 O 00 00 o0°




Figure 1. Schematic of the lab-scale continuous-flow MBR system. 

Table 1. Composition of synthetic municipal wastewater.
	
	Synthetic wastewater according to OECD guidelines
	Synthetic wastewater used in the experiments (the respective quantities, x10)
	Physical/chemical parameters of the synthetic wastewater, which was used in the experiments (average of 30 replication of measurements)

	Substance
	Concentration, mg/L
	

	Peptone
	160
	1600
	BOD 1036 ± 58 mg/L

	Meat extract
	110
	1100
	COD 1987 ± 73 mg/L

	K2HPO4
	28
	280
	NH4+-N 197 ± 18 mg/L

	NaCl
	7
	70
	PO43--P= 67 ± 7.8 mg/L

	CaCl2∙2H2O
	4
	40
	TOC 735 mg/L

	MgSO4∙7H2O
	2
	20
	Turbidity 14.6 NTU


2.2 Filterability Tests by applying the TTF Method (Time-To-Filter Method)

The Time-To-Filter (TTF) method is a well-established method, which can be used as an easy and relatively rapid way to assess sludge filterability (De la Torre et al., 2008; Rosenberger and Kraume, 2002). A 90-mm Buchner funnel is used with Whatman #1, #2, or equivalent filter papers. A short description of the procedure is following: after pouring 200 mL of mixed liquor on the Buchner funnel, the time required to obtain 100 mL of filtrate was recorded at the vacuum pressure of 510 mbar (TTF100). Low TTF100 times indicate high sludge filterability, whereas high TTF100 times indicate low sludge filterability. In our study, except for the TTF100, the time required to obtain 20, 40, 60 and 80 mL of filtrate was also recorded, in order to plot a full profile of recorded experiments, which can contribute to a better comparison and understanding of obtained results.
2.3 SMP concentration measurements

The Phenol-Sulfuric Acid method (DuBois et al., 1956) is the most widely used colorimetric method for the determination of carbohydrate concentration in aqueous solutions. The principle of this method is that carbohydrates, when dehydrated by reaction with concentrated sulfuric acid, produce furfural derivatives. Further reaction between furfural derivatives and phenol develops a detectible color. A short description of the standard procedure is following: 1 mL aliquot of a carbohydrate solution was mixed with 1 mL of wt. 5% aqueous solution of phenol in a test tube. Subsequently, 5 mL of concentrated sulfuric acid were added rapidly to the mixture. After allowing the test tubes to stand for 10 min, they were vortexed for 30 s and placed for 20 min in a water bath at room temperature for color development. Then, light absorption at 490 nm was recorded on a spectrophotometer. Reference solutions were prepared in identical manner as aforementioned, except that the 1 mL aliquot of carbohydrate was replaced by glucose. A Hitachi UV/Vis spectrophotometer was used for these measurements. The Phenol-Sulfuric Acid method was applied after the centrifugation of mixed liquor samples, applied for solid (biomass)-liquid separation.
3. Results and discussion
3.1 Fouling estimation
The results of the batch-mode (short-term) experiments are presented in terms of the ratios TTFzeolite/TTFno zeolite and SMPzeolite/SMPno zeolite. TTFzeolite/TTFno zeolite is the ratio of TTF100 recorded after the addition of zeolite in the mixed liquor sample, to the TTF100 recorded before this addition (i.e. the respective blank measurement). It is evident that when the ratio is lower, then sludge filterability is enhanced. SMPzeolite/SMPno zeolite is the ratio of SMP concentration after the addition of zeolite in the mixed liquor sample, to the SMP concentration before this addition (i.e. the respective blank measurement). In the same way, the lower this ratio is, the more effective the tested zeolite concentration becomes (in terms of SMP removal). The effect of zeolite on sludge filterability and SMP removal was examined at three concentrations: 1, 5 and 10 g/L (Figures 2 and 3). The horizontal line in each figure represents the blank ratio value (i.e. TTFno zeolite/TTFno zeolite, or SMPno zeolite/SMPno zeolite), which is always equal to 1. As shown in Figure 2,  the addition of zeolite at high concentration (10 g/L) did not affect the ratio TTFno zeolite/TTFno zeolite, however, sludge filterability was slightly improved at the lowest concentrations (1 and 5 g/L). The highest SMP removal was observed at the same concentrations as well (especially at 5 g/L) (Figure 3).

[image: image2]
Figure 2. Effect of zeolite concentration (1, 5 and 10 g/L) on sludge filterability.

[image: image3]
Figure 3. Effect of zeolite concentration (1, 5 and 10 g/L) on SMP removal.
3.2 Lab-scale MBR performance
Although the primary objective of the present study is the membrane fouling mitigation in MBRs by the use of zeolite, the system’s performance was also assessed in terms of organics (BOD5, COD) and ammonium (NH
[image: image4.wmf]+

4

-N) removal in order to estimate the environmental impact of the lab-scale MBR system, treating synthetic municipal wastewater of high strength. Results showed that BOD5, COD and NH
[image: image5.wmf]+

4

-N removal were more than 98% (Figures 4 and 5).

[image: image6]
Figure 4. Organics removal in the lab-scale MBR treatment system.


[image: image7]
Figure 5. Ammonium removal in the lab-scale MBR treatment system.
4. Conclusions
Membrane fouling still remains the most serious drawback in MBR treatment systems, leading gradually to membrane permeability decrease, efficiency deterioration and finally increased treatment cost, due to higher energy consumption, increase of TMP and the need for application of more frequent membrane cleaning procedures. In an effort to examine its effect on membrane fouling, various concentrations (1, 5 and 10 g/L) of zeolite were added in mixed liquor samples of a lab-scale MBR system, which treated high-strength synthetic municipal-type wastewater. Results showed that sludge filterability and, therefore, reversible fouling, was practically unaffected by the addition of zeolite at high concentration (10 g/L), while at the lowest concentrations (1 and 5 g/L) it was slightly improved. Irreversible fouling was mitigated by the addition of zeolite at all concentrations, however significant SMP removal was observed only at the lower one (5 g/L). Regarding the system’s performance, the lab-scale MBR system operated successfully with a high-strength synthetic municipal wastewater, since it exhibited remarkable behaviour in terms of organics and ammonium removal (over 98%).
References

Akamatsu, K., Lu, W., Sugawara, T., Nakao, S.-I. 2010 Development of a novel fouling suppression system in membrane bioreactors using an intermittent electric field. Water Research, 44, 825-830.
Boodhoo, K., Harvey, A. 2013 Process Intensification for Green Chemistry: Engineering Solutions for Sustainable Chemical Processing. John Wiley & Sons, Ltd., United Kingdom, Chapter 8, pp. 227-250.
Damayanti, A., Ujang, Z., Salim, M.R. 2011 The influenced of PAC, zeolite, and Moringa oleifera as biofouling reducer (BFR) on hybrid membrane bioreactor of palm oil mill effluent (POME). Bioresource Technology, 102, 4341-4346.
De la Torre, T., Lesjean, B., Drews, A., Kraume, M. 2008 Monitoring of transparent exopolymer particles (TEP) in a membrane bioreactor (MBR) and correlation with other fouling indicators. Water Science and Technology, 58, 1903-1909.
DuBois, M., Gilles, K., Hamilton, J., Rebers, P., Smith, F. 1956 Colorimetric method for determination of sugars and related substances. Analytical Chemistry, 28, 350-356.
Dutta, K., Tsai, C.-Y., Chen, W.-H., Lin, J.-G. 2014 Effect of carriers on the performance of anaerobic sequencing batch biofilm reactor treating synthetic municipal wastewater. International Biodeterioration and Biodegradation, 95, 84-88.
Gkotsis, P.K., Mitrakas, M.M., Tolkou, A.K., Zouboulis, A.I. 2017 Batch and continuous dosing of conventional and composite coagulation agents for fouling control in a pilot-scale MBR. Chemical Engineering Journal, 311, 255-264.
Iorhemen, O.T., Hamza, R.A., Tay, J.H. 2017 Membrane fouling control in membrane bioreactors (MBRs) using granular materials. Bioresource Technology, 240, 9-24.
Krzeminski, P., Leverette, L., Malamis, S., Katsou, E. 2017 Membrane bioreactors - A review on recent developments in energy reduction, fouling control, novel configurations, LCE and market prospects. Journal of Membrane Science, 527, 207-227.
Lofrano, G. Green Technologies for Wastewater Treatment; Energy Recovery and Emerging Compounds Removal. Springer, New York, Chapter 3, pp. 31-41.
Neoh, C.H., Noor, Z.Z., Mutamin, N.S.A., Lim, C.K. 2016 Green technology in wastewater treatment technologies: Integration of membrane bioreactor with various wastewater treatment systems. Chemical Engineering Journal, 283, 582-594.
OECD 2010 OECD Guidelines for the Testing of Chemicals (Technical Report 209). Activated Sludge, Respiration Inhibition Test (Carbon and Ammonium Oxidation), Guideline 16.
Rezaei, M., Mehrnia, M.R. 2014 The influence of zeolite (clinoptilolite) on the performance of a hybrid membrane bioreactor. Bioresource Technology, 158, 25-31.
Rosenberger, S., Kraume, M. 2002 Filterability of activated sludge in membrane bioreactors. Desalination, 151, 195-200.
Wu, Z., An, Y., Wang, Z., Yang, S., Chen, H., Zhou, Z., Mai, S. 2008 Study on zeolite enhanced contact-adsorption regeneration-stabilization process for nitrogen removal. Journal of Hazardous Materials, 156, 317-326.
Yuniarto, A., Noor, Z.Z., Ujang, Z., Olsson, G., Aris, A., Hadibarata, T. 2013 Bio-fouling reducers for improving the performance of an aerobic submerged membrane bioreactor treating palm oil mill effluent. Desalination, 316, 146-153.
Electronic circuit





Feeding





Mixed Liquor Recirculation





Aeration





Filtration/Backflushing





FSM: Flat Sheet Membrane


CBAD: Coarse Bubble Air Diffusers


LLC: Liquid Level Controllers


SV: Solenoid Valve


PTR: Pressure Transducer


TS: Time Switch


PT: Permeate Tank


AC: Air Compressor





WT: Wastewater Tank


CV: Control Valve


PP: Peristaltic Pump


DOM: Dissolved Oxygen Meter


B: Bioreactor


FI: Flow Indicator


FBAD: Fine Bubble Air Diffuser


FT: Filtration Tank








7
3
12

[image: image11.png]S
S
=
=

<
[
[
\Q

S

S
<3
[
[

Zeolite
concentration

m]g/L
mSg/L
m10g/L




_1547126833.unknown

_1547126834.unknown

